INTRODUCTION	March 31, 2022

Since the last report six months ago, EPA has published a Fifth Five-Year Review (2022) that determined the remedy at the site is protective in the long term.  Just prior to the release of the 5th FYR, EPA also amended the Fourth Five-Year Review with a short-term protectiveness finding.  These determinations were made as a result of the routine operations and maintenance (O&M) activities  at and north of the Superfund Site completed by the City and County of Denver, Waste Management of Colorado, Inc., and Chemical Waste Management Inc.,(collectively referred to as the Work Settling Defendants (WSDs.)  This work allowed for the WSDs to resolve all of the Fourth Five-Year Review deferred protectiveness findings in collaboration with EPA, CDPHE, and the Tri-County Health Department.  Further, the remaining studies were finalized and incorporated by EPA into the 5th FYR which found the remedy protective in the long term.  A brief summary of the protectiveness finding of the Fifth Five-Year Review and details of the O&M activities are presented in this Status Report.

The Fifth Five-Year Review (2022) determined that the remedy is protective of human health and the environment and that no other information has come to light that could call this into question.  Specifically, EPA has determined that the remedy is functioning as intended by the decision documents, and that the exposure assumptions, toxicity data, and cleanup levels and Remedial Action Objectives used at the time of the remedy selection are still valid.   Therefore, the remedy for Lowry Landfill is protective of human health and the environment.

The O&M activities that allowed for EPA to resolve all Fourth Five-Year Review issues as well as issue a determination of protectiveness for the Fifth Five-Year Review consisted of extracting and treating approximately 9.1 million gallons of groundwater from several onsite and offsite extraction systems in full compliance with the Industrial Discharge Permit from Metro Water Recovery;  collection and analyses of 122 samples from 75 groundwater monitoring wells; continuous operations of the Landfill Gas  Extraction and Treatment system in full compliance with decision documents; collection and analyses of soil gas samples from 64 subsurface gas monitoring probes surrounding the Lowry Landfill; maintenance of stormwater conveyance ditches; and inspection and maintenance of landfill covers and buffer properties contiguous to the Superfund Site.

During the reporting period all Fourth Five-Year review issues were resolved including 1) EPA approval of the North End Groundwater Monitoring Plan (added additional monitoring wells); 2) publication and EPA approval of the Containment System Evaluation (CSE) for the  fifth groundwater remedy component that concluded the NBBW which was demonstrated to achieve containment along the Target Zone of Containment; and 3) EPA published the Final Updated Conceptual Site Model to describe the current understanding of site conditions. The Fourth Five Year Review  determined that Operable Unit 1 (OU1) (Shallow Groundwater and Subsurface Liquids) and OU6 (Deep Groundwater) were short-term protective and protective, respectively, because there are no completed exposure pathways for 1,4-dioxane in shallow groundwater and the deep groundwater plume is delineated. In September of 2020 EPA determined that the North End 1,4-dioxane plume does not pose an unacceptable risk to human health, and that no additional institutional controls are necessary north of the Superfund Site.  However, WSDs will continue to voluntarily extract groundwater from the North End to accelerate 1,4-dioxane mass removal.

As part of the WSDs ongoing commitment to transparency and community engagement, several outreach opportunities were provided.  During this reporting period, the WSDs provided community outreach by participating in five meetings with the Lowry Landfill Community Advisory Group with presentations given regarding stratigraphy, groundwater flow direction and dewatered areas of the weathered Dawson in the area north of the NBBW.

✔ Upgrading the WTP and POTW discharge line: DONE

✔ Obtain approval from the State Engineer’s Office to allow higher flow rates through the plant and new locations for release of augmentation water on a permanent basis: DONE

✔ Updating the Groundwater Monitoring Plan to add 1,4-dioxane, delete iron, and incorporate the most recent Colorado Basic Standards for

Groundwater : DONE

✔ Identifying and sampling potentially at-risk off-site private wells in the vicinity of the 1,4-dioxane plume and updating the North End Groundwater Monitoring Plan: DONE

- Sampling private wells within/adjacent to the 1,4-dioxane plume and confirming they are not impacted,  DONE

- Evaluating effectiveness of five groundwater remedy components:  DONE

✔ Confirming the lateral  and  vertical  extent  of the off-site 1,4-dioxane plume: DONE

✔ Updating performance standards for landfill gas in subsurface soils: DONE

Progress at Lowry

}

S. Gun Club Rd.

GOLF COURSE AND SUBDIVISION

E. Jewell Ave.

N

PLAINS CONSERVATION CENTER

DENVER ARAPAHOE DISPOSAL SITE

E. Hampden Ave

E. Quincy Ave

ARAPAHOE COUNTY FAIRGROUNDS

S. Gun Club Rd.

LOCATION & CONTAINMENT REMEDY MAPS

GROUNDWATER MONITORING

More than 500 monitoring wells extending into both shallow and deep aquifers have been installed within and outside the site to ensure the community is protected. Well inspections are a routine part of the monitoring program. Data shows that the monitoring system continues to be effective.

Groundwater remedy component effectiveness evaluations conducted in 2021 as part of the fourth five-year review determined that the remedial components are effective and achieve objectives.  Specifically, the slurry wall – a vertical barrier wall made of clay that  prevents groundwater flow – continues to effectively contain contamination inside the eastern, southern and western limits of the landfill as designed. The North Toe Extraction System, which collects and pumps water to the treatment plant at less than 1 gallon per minute, continues to capture the most contaminated groundwater emanating from the landfill. The 960-foot long North Boundary Barrier Wall (NBBW) located at the north end of the  site is the most significant groundwater extraction feature, removing 6 to 10 gallons per minute, which effectively prevents contamination from migrating offsite.  Finally, groundwater extraction in the northwest corner of the site, known as the MW38 area, captures contaminated groundwater flowing through this area and prevents offsite migration.

Vertical migration monitoring shows vertical migration wells are   in compliance with groundwater performance standards and that

contaminated groundwater has not migrated to the deeper aquifers.

There are 60 compliance wells in the network, which are monitored for 29 different chemicals. There are 52 wells in compliance or potentially   in compliance, and 8 wells are out of compliance or potentially out of compliance for chemicals such as 1,4-dioxane, PCE, nitrate, nitrite, and chloroform. The 8 wells that are out, or potentially out of, compliance are being addressed by continuing to pump contaminated water to the treatment plant, as discussed above. This method has proven to be effective at stopping groundwater flow in these areas and reducing the chemical concentrations.

# FACTORS AFFECTING CONTAMINANTS IN GROUNDWATER

### 1,4-dioxane and the North End

In 2005, the Colorado Water Quality Control Commission established a  new groundwater standard for 1,4-dioxane. At that time, new technological advancements capable of detecting and measuring 1,4-dioxane at the

new standards found 1,4-dioxane north of the site. That standard has been revised over the past 13 years, and the current standard is now 0.35 parts per billion (ppb). Current best available analytical technology is not able

to reliably detect 1,4-dioxane at this concentration in site groundwater so a site-specific standard for Lowry Landfill is set at 0.9 ppb.

Water Treatment

1.5 million gallons per month

##### In compliance with discharge standards

500+

Monitoring

Wells

SITE CROSS SECTION

SLURRY WALL

COVER

SLURRY WALL

WASTE MATERIAL

## 1,4-dioxane

#### Synthetic industrial chemical

sometimes added to solvents to prolong their useful life

#### Used in some consumer products such as cosmetics, deodorants, soaps, toothpaste, anti-freeze and paint

Numerous response action work plans have been implemented that have effectively reduced the extent of 1,4-dioxane in the North End Area, and

- Site groundwater standard = .9 ppb

there is a comprehensive monitoring program in place. Of the 37 current North End monitoring wells, 36 have sufficient data to determine 1,4-dioxane trends.  Of those, 86% are decreasing, 11% are flat, and 1,4-dioxane concentrations at one well (3%) are increasing.  The observed concentration declines in all areas shows the effectiveness of the ongoing response actions and demonstrates that groundwater quality in this area is improving. Data shows that the groundwater extraction response at the site continues to significantly decrease the 1,4-dioxane concentrations, as well as the width and length of the contamination to the north. An animation of the North End plume over time is available at www. lowrylandfillinfo.com.

MW38 Sand Channel

Remedial actions to contain groundwater and reduce contaminant concentrations in the sand channel have also been successful. Water is pumped out of the sand channel to maintain inward groundwater flow directions and prevent offsite migration of contaminants and the extracted water is sent to the treatment plant ensuring the surrounding groundwater is always flowing inward. Levels  of 1,4-dioxane have been reduced by 98% since May 2005 in this area. Chloroform and trichloroethene concentrations have also been reduced by 94%. See graph at right.

### Nitrate in the NBBW Area

One well is exceeding the nitrite and nitrate standards and another exceeds nitrate only in an area where sewage sludge was historically land farmed to cultivate and enhance microbial degradation of the sludge. These wells are located along the northern boundary of the Site. There does not appear to be a potential for significant off-Site migration of nitrate or nitrite at concentrations greater than the performance standard and monitoring is ongoing. Additionally, groundwater extraction from the North End wells further downgradient would capture any potential migration of these compounds if it were to occur.

# WATER TREATMENT PLANT

The water treatment plant uses a natural biological process and advanced oxidation treatment to destroy more than 92% of the organic compounds coming into the plant. An ion-exchange system is used to reduce molybdenum by an average of 99%.  The pretreated water is then discharged  to a publicly-owned wastewater treatment plant for further treatment. The on-site treatment plant removes all site chemicals to safe standards and leaves a minimal environmental foot-print. It treats approximately 1.5 million gallons of contaminated groundwater every month. The data show the plant continues to operate as designed in compliance with discharge standards.

## At Lowry

#### Extraction and treatment continues to decrease concentrations.

  - North End Area: 38 Wells

86%

show declining concentrations

11%

remain flat

#### MW38 Channel:

98%

reduction of 1,4 dioxane since May 2005

# LANDFILL GAS REMEDY

Landfill gas—made up of methane, carbon dioxide, nitrogen and other gases—is created naturally by the biological decomposition of organic matter in landfills under low-oxygen conditions. The Site’s landfill gas extraction, collection and treatment system continues to be effective and     in compliance, including the gas-to-energy treatment plant, which removes roughly 5,000 tons of methane annually. This equates to removing more than 22,000 cars from the road each year. The on-site power plant, constructed in 2008, uses landfill gas to fuel four internal combustion engines that generate electricity for a local utility company. The electrical power generated is enough to supply 2,500 to 3,000 households.

# LANDFILL COVER

The former landfill is covered by 4 to 12 feet of compacted clay and soil. The “cap” reduces infiltration of rain and snow into the soil, which minimizes further groundwater contamination. The cover continues to effectively drain rain and snow, keeping it from penetrating the soil. The cap is routinely monitored for any depressions that may form due to settlement that would cause rainwater to pond, among other issues. No cap settlement issues were identified in this report.

Gas Extraction & Cleaning

Electricity

to the Power Grid via Local Electric Co.

Conversion to Electricity via Generating Engines

Gas to Energy Process

Visit the Lowry Landfill website for detailed information and contact information.

www.lowrylandfill.com